## Slide 1
WEL - COME

## Slide 2
NMR Spectroscopy
Dr. C.B.Mane
Shree Vijaysinha Yadav Mahavidyalaya, Peth Vadgoan.

## Slide 3: Chemistry
NMR Instrumentation
Magnetic and non magnetic nuclei

## Slide 4: NMR Instrumentation
NMR – Nuclear magnetic resonance
Defination: The instrument used to measure absorption of energy by magnetic nuclei is called NMR spectroscopy.

## Slide 5: NMR-Instrument
It contains following devices:
Sample tube
Electromagnet
Radio frequency transmitter
Receiver coil
Amplifier
Detector

## Slide 6: Block diagram of NMR spectroscopy

## Slide 7
Defination: The substance which are strongly attracted by magnets are called magnetic substance.
Table : Spin quantum no. of magnetic nuclei
At. No | Mass No |  | I value | Examples
 | Proton | Neutron |  | 
odd | odd | even | 1/2 , 3/2 ,5/2 | 7N15 , 9F19, 15P31……
Even | even | odd | 1/2 , 3/2,/ 5/2 ,7/2…..etc | 6C13, 8O 17……
odd | odd | odd | 1,2,3…. | 7N14 , 5B10…..
A. Magnetic nuclei

## Slide 8: B.Non magnetic nuclei
At.NO. | Mass .NO. |  | I value | Example
 | Proton | neutron |  | 
Even | Even | Even | o | 6C12 , 8O16 , 16S32 ……
Defination : The substances which are not attracted by magnets are called non magnetic nuclei.

## Slide 9
Neutron

## Slide 11: Thank You